Harmonic Analyser v2.11

* Extra decoupling capacitors removed (C42 – C51)
* REF in/out pin of ADE7880 decoupled to AGND instead of DGND
* 5Mohm resistor (0805) added between CLKIN and CLKOUT pin of ADE7880
* A pull down resistor of 4.7Kohm (0603) added to RE pin of MAX485
* Package detail of each passive element added